ICT for HEART  MONITORING

Federico Mason

federico.mason@unipd.it

PART 2

HEART RATE VARIABILITY 2

SINGLE LEAD ECG RECORDING

The recording of a single-lead ECG can be achieved  via minimal invasive devices, such as wearables or  subcutaneous patches

➢ A single-lead ECG is sufficient to analyze the heartbeats and  estimate both the heart rate and its variability

3

SINGLE LEAD ECG RECORDING

4

HEART RATE VARIABILITY ESTIMATION

To estimate the HRV, it is first necessary to compute the  Normal-to-Normal Intervals (NNIs), i.e., the intervals  between consecutive R peaks

To make the HRV estimation time-dependent, a common  choice is to select a time window ∆��, so that any feature  ������(��) is computed according to the NNIs measured  between time �� and time �� + ∆��

The selection of ∆�� trades off between estimation accuracy  and time sensitivity → A value of at least ∆�� = 4 ������ is  usually recommended!

5

TIME DOMAIN (I)

The average of the NNI series (AVNN) represents the  reciprocal of the heart rate, while the standard deviation of  the NNI series (SDNN) represents a naïve HRV estimation

�������� �� =σ����+∆�� ��������

��(��)

��������(��) =σ����+∆�� �������� − ��������(��)2

��(��)

6

TIME DOMAIN (II)

More advanced metrics can be derived from the series SD of  subsequent NNI differences ������ = ��������+1 − ��������

��������(��) =σ����+∆�� ������

�� �� − 1

��������(��) =σ����+∆�� ������ − ��������(��)2

�� �� − 1

��������(��) =σ����+∆�� ������2

�� �� − 1

7

NNI DISTRIBUTION (I)

Another HRV metric is the probability (ppNN��) that two  consecutive NNIs differ more than �� milliseconds, where �� is usually set to 50 ���� or 20 ����

����������(��) =σ����+∆�� ��(������ > ��)

�� �� − 1

�� ������ > �� = ቊ1 ������ > ��

0 ����ℎ������������

Both RMSD and ppNN�� are considered markers of the vagal (i.e., parasympathetic) tone of the nervous system

8

NNI DISTRIBUTION (II)

The triangular index (TI) is defined as the ratio between the  total number of NNIs and the number of NNIs in the modal bin

����(��) =��(��)

σ����+∆�� ��(�������� = �������� ������(��) )

The triangular interpolation (TINN) of NNIs is defined as the  baseline width of the NNI distribution

�������� �� ≅ ������ ������ �� − min[������(��)]

In the case of TI and TINN, we should consider ∆�� ≥ 20 ������

9

FREQUENCY DOMAIN (I)

We can implement a time-frequency transformation  (e.g., the Fourier transform) and analyze the NNI spectrum

Given the spectrum ������(��, ��) of NNI, we can compute the  energy of significant frequency bands:

• the low-frequency (LF) band 0.06, 0.10 ���� reflects  both the sympathetic and vagal tones

• the high-frequency (HF) band 0.15, 0.40 ���� reflects  the vagal tone

10

FREQUENCY DOMAIN (II)

0.10

������ �� = න

0.06

0.40

������ �� = න

0.15

������(��, ��)2 ���� ������(��, ��)2 ����

The energy ratio between the LF and HF bands is considered a  marker of the sympathetic–vagal balance

���� �� =������ ��

������ ��

*Before implementing a time-frequency transformation, we need to interpolate the  NNI series to operate with equidistant samples!!!

11

POINCARÉ PLOT

The Poincaré plot represents subsequent NNI values in  a two-dimensional coordinate system where each point is  given by a couple ��������+1, ��������

We consider the standard deviation

perpendicular to (����1) and along (����2)

the line-of-identity

����12 =12��������2

����22 = 2��������2 −12��������2

12

POINCARÉ PLOT

The Poincaré plot represents subsequent NNI values in  a two-dimensional coordinate system where each point is  given by a couple ��������+1, ��������

From SD1 and SD2, we can compute

the Cardiac Sympathetic Index and

the Cardiac Vagal Index

����1����2

������ = ൗ

������ = log ����1 × ����2

13

ACTIVITY: SEIZURE DETECTION

HRV has been recognized as a useful biomarker for detecting or even predicting seizures in people with epilepsy

This makes it possible to trigger alarms

to caregivers by using a wearable device

On the other hand, scientific findings show

that HRV is effective only in patients

with relevant autonomic changes during

the seizure events

14

ACTIVITY: SEIZURE DETECTION

You are provided with:

➢ 5 single-lead ECG recordings of approximately 1.5 hours,  during which an epileptic seizure occurs

➢ a Python framework to extract the NN intervals from the  single-lead ECG

You are asked to:

➢ compute at least two HRV metrics among those discussed  during the lecture

➢ analyze the HRV metrics in time and try to determine when  the epileptic seizure occurs

15

ACTIVITY: SEIZURE DETECTION

Recommendation:

➢ ECG data (like any kind of real-world data) is characterized  by noise and artifacts

➢ we can assume that all the NN intervals larger than 1.5 �� are associated with recording errors

������∗= [�������� ∈ ������: �������� ≤ 1.5 ��]

➢the time domain of time-based HRV features and frequency based HRV features may be different since the second are  obtained after the NNI series interpolation

16

PYTHON FRAMEWORK

Basic usage:

➢ You can decide which file to process and what part of the  code to run by using the command line options

➢ to plot the ECG signal associated with ./epoch_0/, write:

➢ To compute and plot the NNI intervals associated with  ./epoch_0/, write:

17

PYTHON FRAMEWORK

18

Thank you!

Federico Mason

federico.mason@unipd.it